## Slide 1: Status report to 187th session of WP.29 (June 2022)
Informal Working Group on Measurement Uncertainty
(IWG MU)
Transmitted by Chair of IWG MU

## Slide 2: IWG Measurement Uncertainties Facts and Figures
Scope on UN Regulations No. 51 & 117
develop harmonized technical requirements for these UN Regulations of GRBP with consideration to their test protocols.
develop a practice guide for compensation and/or correction factors.
Roles
Chair: Norway Secretariat: OICA
CPs: China, EC, France, Germany, India, Italy, Japan, Netherlands, Russian Federation, Spain, UK
Targets
compensate systematic errors if possible
evaluate the influence of random errors (remaining quantities)
homepage
https://wiki.unece.org/pages/viewpage.action?pageId=92012814
General Approach
possible to improve test procedures for UN Regulations not only in GRBP but also for all other GRs
documented in Consolidated Resolution on Construction of Vehicles (R.E.3) or as a Document for Reference.
Improve test methods
Time
established 2019
extended mandate until September 2023

## Slide 3: IWG Measurement Uncertainties Main Results and Output by June 2022
UN Regulation No. 51
Development of uncertainty budget
Preparation of vehicle and tyres
Temperature correction of tyres
Test track compensation
90 %
UN Regulation No. 117
preliminary considerations and examinations
25 %
Documents for Reference
Working Document: General Approach to Estimate Measurement Uncertainties
Informal Document: How to handle Measurement Uncertainties due to its Regulatory Impact?
75 %
Deliverables by June 2022
UN Regulation 51.03 Amendment 7
ECE-TRANS-WP29-2022-84e
Document for Reference
ECE-TRANS-WP29-GRBP-2022-9e-rev1

## Slide 4: IWG Measurement Uncertainties Uncertainty Evaluation of UN Regulation No. 51
Uncertainty Evaluation
  A table of the contribution of each of the quantities to the overall measurement uncertainties has been established.
  The quantities have been grouped into categories:
        Run-to-run
        Day-to-day
        Site-to-site
        Vehicle-to-vehicle
  For each of these groups, the impact on the overall pass-by noise level (Lurban) has been established (based on experience & measurements or theoretical calculations).
  The combined uncertainty is calculated for each category separately, and an "uncertainty budget" is shown for each of these categories:
        Type-Approval,
        COP and
        Field Tests (vehicles in use).

## Slide 5: IWG Measurement Uncertainties Status and Next Steps
01
02
03
04
01 Results of Investigations
IWG MU has worked on the measurement uncertainties of UN Reg. No. 51 and will continue to do so for No. 117 (tyre rolling sound).
03 Implementation of Results
IWG MU presented an Informal Document on "How to handle Measurement Uncertainties due to their regulatory impact" (GRBP-75-08). The main topic of this paper was to notify the missing link between the DfR and its implications for UN Regulations.
02 General Approach
IWG MU has developed the Document for Reference (DfR): A general approach how to handle measurement uncertainties.
04 Amendment of Procedure
IWG MU will amend the Document for Reference (DfR) with the Implementation Procedure to UN Regulations in the 76th GRBP (Sept. 2022) and 189th WP.29 (Mar. 2023)

## Slide 6: IWG Measurement Uncertainties PROPOSED Implementation Procedure
Investigation of Measurement Uncertainties
Direct Implementation to Regulations
Recommended Procedure
  Table of uncertainties should be attached as an annex to every regulation that deals with measurements
  Everytime a regulation will be amended according to the test methods the “Annex of Measurement Uncertainties” should be updated, too.
If there is up to now no “Annex of Measurement Uncertainties” available, this should be added within the next amendment of this regulation.

## Slide 7: IWG Measurement Uncertainties Conclusion & Discussion
This procedure was endorsed by GRBP in 75th session.
Presentation to 187th session of WP.29 was recommended:
“Potential to overtake this approach to other GRs?”
Ask for comments and feedback of WP.29.
  Thank you for your attention!