## Slide 1: WLTP Open Issue Phase 1B
OIL #24: Chassis dynamometer calibration –
force measurement system
.
WLTP-09-11e

## Slide 2
1) Current GTR text: 2.4.1. Force measurement system
The accuracy and linearity of the force transducer shall be at least ± 10 N for all measured increments. This shall be verified upon initial installation, after major maintenance and within 370 days before testing.
2) Expert position
keep GTR unchanged
3) Reasoning
Accuracy and linearity is sufficient and state-of-the-art; tolerance is in alignment with future U.S. legislation (§1066.210)
OIL # 24; Chassis Dynamometer Calibration