## Slide 1: Validation Program Proposal for Measurement Setup
for
RWS Devices fitted to a Vehicle (Part II)
”Tonal Sound”, ”Broadband Sound”, ”Third Octave Band Sound”
Manfred Klopotek von Glowczewski

## Slide 2
7 m
4.5 m
10 m
2 m
4.5 m
45⁰
14 m
10 m
14 m
2 m
7 m
Test Condition 1
Measurement distance
(Outdoors):
2 m
4,5 m
7 m
10 m
14 m

## Slide 3
1 m
0.5 m
1.5 m
Microphone
Height
Reflecting Ground
Test Condition 2
Microphone position above ground
(Outdoors):
8 points on a circle

## Slide 4
1 m
0.5 m
1.5 m
Microphone
Height
Reflecting Ground
Test Condition 3
Sweep to find maximum sound presure level
Microphone position above ground
(Outdoors):
Sweep on the line between
0⁰ and 180⁰

## Slide 5
1 m
0.5 m
1.5 m
Microphone
Height
Reflecting Ground
Test Condition 4
11 measurement points between
0.5 m and 1.5 m, Δ = 0.10 m
Microphone position above ground
(Outdoors):
11 points on the line between
0⁰ and 180⁰

## Slide 6
1 m
0.5 m
1.5 m
Microphone
Height
Reflecting Ground
Test Condition 5
1 measurement point at 1.2 m
Microphone position above ground
(Outdoors):
1 point at 1.2 m on the line between
0⁰ and 180⁰

## Slide 7
7 m
4.5 m
10 m
2 m
4.5 m
45⁰
At
Measurement
distance
(Outdoors):
2 m
4,5 m
7 m
10 m
14 m
Test Conditions
14 m
10 m
14 m
Microphone
position above ground
(Outdoors):
Condition 3, 5
Condition 3,5
Condition 2, 3, 4
Condition 3, 5
Condition 3, 5
The sound pressure level shall be measured at the fixed height(s) for a duration of at least 30 seconds
2 m
7 m